## Cost OPEN LOOP
Components | Description | Quantity | Length_Miles | ROW_Length_Miles | Total_Item_Cost | Category_Total
# --- LINES ---
500kV Line | [Bus3210-Bus3211] (Distribution Loop) NewLoad3200 to NewLoad3201 500kV | 1 | 58 | 69.6 | 223800000
500kV Line | [Bus3210-Bus1110] (Distribution Loop) NewLoad3200 to NewLoad1100 500kV | 1 | 98 | 117.6 | 367800000
500kV Line | [Bus1110-Bus1111] (Distribution Loop) NewLoad1100 to NewLoad1101 500kV | 1 | 72 | 86.4 | 274200000
500kV Line | [Bus1111-Bus1112] (Distribution Loop) NewLoad1101 to NewLoad1102 500kV | 2 | 106 | 127.2 | 793200000
500kV Line | [Bus1079-Bus1111] (North Feed) NewLoad1101 to ODESSA 1_8 500kV | 3 | 34 | 40.8 | 412200000
500kV Line | [Bus3333-Bus1110] (East Feed) NewLoad1100 to CHRISTOVAL 500kV | 1 | 54 | 64.8 | 209400000
500kV Line | [Bus3333-Bus3210] (East Feed 2) NewLoad3200 to CHRISTOVAL 500kV | 1 | 65 | 78 | 249000000
500kV Line | [Bus3334-Bus3211] (South Feed) NewLoad3201 to DEL RIO 500kV | 2 | 25 | 30 | 210000000
2739600000
# --- TRANSFORMERS ---
500/230kV Transformer | [Bus1110-Bus1100] NewLoad1100 2x 500kV/230kV | 2 |  |  | 24000000
500/230kV Transformer | [Bus1111-Bus1101] NewLoad1101 2x 500kV/230kV | 2 |  |  | 24000000
500/230kV Transformer | [Bus1112-Bus1102] NewLoad1102 2x 500kV/230kV | 2 |  |  | 24000000
500/230kV Transformer | [Bus3211-Bus3201] NewLoad3201 2x 500kV/230kV | 2 |  |  | 24000000
500/230kV Transformer | [Bus3210-Bus3200] NewLoad3200 2x 500kV/230kV | 2 |  |  | 24000000
500/230kV Transformer | [Bus3333-Bus3018] CHRISTOVAL 2x 500kV/230kV | 2 |  |  | 24000000
500/230kV Transformer | [Bus3334-Bus3050] DEL RIO 2x 500kV/230kV | 2 |  |  | 24000000
168000000
# --- SUBSTATIONS ---
Substation Upgrade (230kV to 500kV) | [Bus1110] Upgrade NewLoad1100 Substation to 500kV | 1 |  |  | 8000000
Substation Upgrade (230kV to 500kV) | [Bus1111] Upgrade NewLoad1101 Substation to 500kV | 1 |  |  | 8000000
Substation Upgrade (230kV to 500kV) | [Bus1112] Upgrade NewLoad1102 Substation to 500kV | 1 |  |  | 8000000
Substation Upgrade (230kV to 500kV) | [Bus3211] Upgrade NewLoad3201 Substation to 500kV | 1 |  |  | 8000000
Substation Upgrade (230kV to 500kV) | [Bus3210] Upgrade NewLoad3200 Substation to 500kV | 1 |  |  | 8000000
Substation Upgrade (230kV to 500kV) | [Bus3333] Upgrade CHRISTOVAL Substation to 500kV | 1 |  |  | 8000000
Substation Upgrade (230kV to 500kV) | [Bus3334] Upgrade DEL RIO Substation to 500kV | 1 |  |  | 8000000
56000000
# --- TOTALS ---
| Total_Transmission_Capital_Cost |  |  |  | 2963600000

## Cost RING LOOP
Components | Description | Quantity | Length_Miles | ROW_Length_Miles | Total_Item_Cost | Category_Total
# --- LINES ---
500kV Line | [Bus3210-Bus3211] (Distribution Loop) NewLoad3200 to NewLoad3201 500kV | 1 | 58 | 69.6 | 223800000
500kV Line | [Bus3210-Bus1110] (Distribution Loop) NewLoad3200 to NewLoad1100 500kV | 1 | 98 | 117.6 | 367800000
500kV Line | [Bus1110-Bus1111] (Distribution Loop) NewLoad1100 to NewLoad1101 500kV | 1 | 72 | 86.4 | 274200000
500kV Line | [Bus1111-Bus1112] (Distribution Loop) NewLoad1101 to NewLoad1102 500kV | 1 | 106 | 127.2 | 396600000
500kV Line | [Bus1112-Bus3211] (Distribution Loop) NewLoad1102 to NewLoad3201 500kV | 1 | 212 | 254.4 | 778200000
500kV Line | [Bus1079-Bus1111] (North Feed) NewLoad1101 to ODESSA 1_8 500kV | 3 | 34 | 40.8 | 412200000
500kV Line | [Bus3333-Bus1110] (East Feed) NewLoad1100 to CHRISTOVAL 500kV | 1 | 54 | 64.8 | 209400000
500kV Line | [Bus3333-Bus3210] (East Feed 2) NewLoad3200 to CHRISTOVAL 500kV | 1 | 65 | 78 | 249000000
500kV Line | [Bus3334-Bus3211] (South Feed) NewLoad3201 to DEL RIO 500kV | 1 | 25 | 30 | 105000000
3016200000
# --- TRANSFORMERS ---
500/230kV Transformer | [Bus1110-Bus1100] NewLoad1100 2x 500kV/230kV | 2 |  |  | 24000000
500/230kV Transformer | [Bus1111-Bus1101] NewLoad1101 2x 500kV/230kV | 2 |  |  | 24000000
500/230kV Transformer | [Bus1112-Bus1102] NewLoad1102 2x 500kV/230kV | 2 |  |  | 24000000
500/230kV Transformer | [Bus3211-Bus3201] NewLoad3201 2x 500kV/230kV | 2 |  |  | 24000000
500/230kV Transformer | [Bus3210-Bus3200] NewLoad3200 2x 500kV/230kV | 2 |  |  | 24000000
500/230kV Transformer | [Bus3333-Bus3018] CHRISTOVAL 2x 500kV/230kV | 2 |  |  | 24000000
500/230kV Transformer | [Bus3334-Bus3050] DEL RIO 2x 500kV/230kV | 2 |  |  | 24000000
168000000
# --- SUBSTATIONS ---
Substation Upgrade (230kV to 500kV) | [Bus1110] Upgrade NewLoad1100 Substation to 500kV | 1 |  |  | 8000000
Substation Upgrade (230kV to 500kV) | [Bus1111] Upgrade NewLoad1101 Substation to 500kV | 1 |  |  | 8000000
Substation Upgrade (230kV to 500kV) | [Bus1112] Upgrade NewLoad1102 Substation to 500kV | 1 |  |  | 8000000
Substation Upgrade (230kV to 500kV) | [Bus3211] Upgrade NewLoad3201 Substation to 500kV | 1 |  |  | 8000000
Substation Upgrade (230kV to 500kV) | [Bus3210] Upgrade NewLoad3200 Substation to 500kV | 1 |  |  | 8000000
Substation Upgrade (230kV to 500kV) | [Bus3333] Upgrade CHRISTOVAL Substation to 500kV | 1 |  |  | 8000000
Substation Upgrade (230kV to 500kV) | [Bus3334] Upgrade DEL RIO Substation to 500kV | 1 |  |  | 8000000
56000000
# --- TOTALS ---
| Total_Transmission_Capital_Cost |  |  |  | 3240200000

## Components
Lines
Component | Fixed Cost | Variable Cost (per mile) | Reactance (p.u., per mile) | Rating (MVA) | Max ROW length (miles)
230kV Line | 8000000 | 1300000 | 0.0012 | 400 | 115
500kV Line | 15000000 | 3000000 | 0.0002 | 1600 | 200
Transformers
Component | Fixed Cost | Reactance (p.u.) | Rating (MVA)
500/230kV Transformer | 12000000 | 0.015 | 1100
230/115kV Transformer | 1800000 | 0.05 | 200
Substations
Component | Fixed Cost
230kV ->500kV Substation Upgrade | 8000000
New 500kV Substation | 11000000
New 500kV Substation + 230kV | 14000000
New 230kV Substation | 7000000
115kV -> 230kV Substation | 4000000
115kV -> 230kV Substation + 500kV | 12000000